NAME: IJIGA OBEKPA

DEPARTMENT: ELECTRICAL/ELECTRONICS

MATNO: 17/ENG04/030

DATE: 6/04/20

Answers

1. A synchronous motor has no slip.

2. Stator supply is not needed produce magnetic field .

3. The mechanical load on the rotor will be constant.

4. synchronous motor has large airgap.

5. Synchronous motors are used for the power factor correction Now, since the set up of the magnetic flux inside the motor is done by the dc excitation provided on the rotor terminals, the power factor can also be controlled by controlling this dc excitation.

6. A synchronous motor running on no-load with leading power factor-will act as synchronous condenser.  The same motor when used with lagging power factor on no-load will draw a reactive current from the system depending on the voltage of the system.

7. Like an induction machine, an under excited synchronous machine too will consume reactive power; a properly excited synchronous machine neither consumes nor produces reactive power; An over excited synchronous machine can produce reactive power.

8.Efficiency is higher than of an induction motor of the same output and voltage rating because there are neither losses related to slip nor the additional losses due to magnetizing current. With synchronous motors, there is no difference of speed between air gap rotating magnetic field and rotor.

9. Power factor of induction motor depends on load and speed ,Piwer factor of a synchronous might be fixed ,usually such motors are huge and therefore their reactive power causes huge losses.

10.The real power is nothing to do with it. The real power will be proportional to the mechanical load. If the motor is uncoupled it will be (close to) zero, regardless of the reactive situation. If the load is consuming power, the motor will take it from the supply to pass on. If the load is supplying power the converse will apply.

11. This a tough job on your hands. Large synchronous motors have adjustable power factor. They can even have leading power factor. They are often set this way compensate for all the other induction motors. This can effect the efficiency of the motor depending on load. With the system tuned to near unity the entire distribution system benefits. It is a good way to go. There is not just one type of synchronous motor but they most often do better than standard induction motors.

12. Synchronous motor  rotates with synchronous speed, without regarding the loading conditions. So, the effective output is not reduced, compared to induction motor. So, more efficiency is observed in this case. Also, the operating power factor is constant in synchronous motors. It is also a do vfxubly excited machine, unlike induction motor.

13. Synchronous machine have separate DC excitation which reduces machine's excitation dependency on main supply, hence better PF. where as IM have no such provisions, hence low PF.

14. Power factor is a number which in very small length tells us about the efficiency of an AC machine like induction motor. As we know, in an inductive load current lags the voltage by a certain angle. Higher the lag, lesser will be the power factor. ... cosine of the angle between Voltage and Current is called power factor.

15. We should know that an over-excited synchronous motor has a leading power factor. It is needed for power factor correction of industrial loads. Transformers and induction motors draw lagging (magnetising) currents from the line.This enhances the plant power factor and reduces the reactive current needed from the grid.