NAME: ALADE EMMANUEL ADEMOLA

MATRIC NO: 18/MHS07/006

DEPARTMENT: PHARMACOLOGY

COURSE CODE: PHA 206

ASSIGNMENT

1. Sterilization is an essential stage in the processing of any product destined forparenteral administration, or for contact with broken skin, mucosal surfaces, or internal organs, where the threat of infection exists.In addition, the sterilization of microbiological materials, soiled dressings and other contaminated items is necessary to minimize the health hazard associated with these articles.

Sterilization processes involve the application of a biocidal agent or physical microbial removal process to a product or preparation with the object of killing or removing all microorganisms. These processes may involve elevated temperature,reactive gas, irradiation or filtration through a microorganism-proof filter. The success of the process depends on a suitable choice of treatment conditions, e.g. temperature and duration of exposure.It must be remembered, however, that with all articles to be sterilized there is a potential risk of product damage, which for a pharmaceutical preparation may result in reduced therapeutic efficacy, stability or patient acceptability. Thus, there is a need to achieve a balance between the maximum acceptable risk of failing to achieve sterility and the maximum level of product damage that is acceptable. This is best determined from a knowledge of the properties of the sterilizing agent, the properties of the product to be sterilized and the nature of the likely contaminants. A suitable sterilization process may then be selected to ensure maximum microbial kill/removal with minimum product deterioration.

2. Terminal sterilization is the process of sterilizing a product in its final container. It is an important process as it ensures the product remains sterile.

All medical, ophthalmic and parenteral equipment are sterilized in batches, and usually sterilized using heat. The products themselves however are not thermally sterilized as the heat may damage it. Alternative methods are therefore used, such as filtration which also reduces the risk of a product becoming contaminated.

Before the sterilization process is started, the holding period must be established, which is the time the products must be held at the required temperature or exposed to other sterilization methods to ensure the microbial growth is killed effectively. Any microbial growth that occurs while the products are in storage can affect the quality of the product and must therefore be prevented.

3. Gaseous sterilization.  Sterilizing gases are typically used when exposure to other methods (heat or radiation) could damage the materials or equipment.  The most common gases used for sterilization include ethylene oxide (EO), ozone, mixed oxides of nitrogen, and chlorine dioxide.  According to USP, “EO’s ability to penetrate through polymers, cellulosics, and other materials allows it to be used for the terminal sterilization of medical devices in their final packaging.”

This chapter goes into detail about the following gas types (USP definitions):

Ethylene oxide: “a powerful alkylating agent that destroys microorganisms by chemical reaction, primarily with cell DNA.  The destructive mechanism largely follows first-order kinetics and depends on concentration, humidity, and temperature.”

Ozone:  “a potent oxidizing agent produced by passing a stream of oxygen or air through a high-voltage electrical field.  Ozone is an effective biocidal agent for treatment of water supplies and has demonstrated lethality at concentrations from 2%-10% in air.”

Chlorine dioxide:  “an effective sterilizing gas.  Pure chlorine dioxide is metastable and therefore is generated as needed.  Chlorine dioxide in noncarcinogenic, nonflammable, and effective at ambient temperatures.”

Nitrogen dioxide:  “a sterilizing gas effective at ambient temperature.  Liquid nitrogen dioxide is converted to a gas on introduction to the target chamber.  Nitrogen dioxide is nonexplosive and its residues are noncarcinogenic, noncytotoxic, and nonteratogenic.”

Also included in this chapter is information on the validation of gas sterilization, equipment qualification, empty chamber parameter distribution, component and load mapping, biological indicators, process confirmation and microbiological challenge, and routine process control.

4. Radiation sterilization relies on ionizing radiation, primarily gamma, X-ray or electron radiation, to deactivate microorganisms such as bacteria, fungi, viruses and spores. Due to numerous advantages over heat or chemical based sterilization techniques, this method is particularly attractive in medicine and healthcare-related fields.