NAME: BASORUN MORENIKE ABIBAT

MATRIC NUMBER: 18/MHS07/010

DEPARTMENT: PHARMACOLOGY

COURSE CODE: PHA 206

1.Sterilization is an essential stage in the processing of any product destined for parenteral administration or for contact with broken skin. Discuss?

Sterilization can be defined as the process through which all forms of life are destroyed, removed, or permanently inactivated. Sterilization destroys all microorganisms on the surface of an article or in a fluid to prevent disease transmission associated with the use of that item. While the use of inadequately sterilized critical items represents a high risk of transmitting pathogens, documented transmission of pathogens associated with an inadequately sterilized critical item is exceedingly rare. This is likely due to the wide margin of safety associated with the sterilization processes used in healthcare facilities. Medical devices that have contact with sterile body tissues or fluids are considered critical items. These items should be sterile when used because any microbial contamination could result in disease transmission. Such items include surgical instruments, biopsy forceps, and implanted medical devices. If these items are heat resistant, the recommended sterilization process is steam sterilization, because it has the largest margin of safety due to its reliability, consistency, and lethality. However, reprocessing heat- and moisture-sensitive items requires use of a low-temperature sterilization technology (e.g., ethylene oxide, hydrogen peroxide gas plasma, peracetic acid).

2. Discuss the importance of sterilization in the production of Pharmaceutical products.

Sterilization means “the use of physical or chemical procedure to destroy all microbial life, including highly resistant bacterial endospores.The objective of sterilization is to completely destroy or remove all microorganisms (including spore-forming and non-spore-forming bacteria, viruses, fungi and protozoa) that could contaminate a pharmaceutical product. If a pharmaceutical product is not sterilized and consumed, it cuases infectious disease such abd flu and measles. There is also strong evidence that microbes may contribute to many non–infectious chronic diseases such as some forms of cancer and coronary heart disease.

3. Explain gaseous sterilization, its sterilizer design and operation.

The chemically reactive gases ethylene oxide [(CH 2) 2 O] and formaldehyde [(methanal, H.CHO)] possess broad-spectrum biocidal activity, and have found application in the sterilization of reusable surgical instruments, certain medical, diagnostic and electrical equipment, and the surface sterilization of powders. Sterilization processes using ethylene oxide sterilization are far more commonly used on an international basis than those employing formaldehyde. Ethylene oxide treatment can also be considered as an alternative to radiation sterilization in the commercial production of disposable medical devices . These techniques do not, however, offer the same degree of sterility assurance as heat methods and are generally reserved for temperature-sensitive items.

a) Ethylene Oxide: Ethylene oxide gas is highly explosive in mixtures of more than 3.6% v/v in air; in order to reduce this explosion hazard it is usually supplied for sterilization purposes as a 10% mix with carbon dioxide, or as an 8.6% mixture with HFC 124 (2-chloro-1,1,1,2 tetrafluoroethane), which has replaced fluorinated hydrocarbons (freons). Alternatively, pure ethylene oxide gas can be used below atmospheric pressure in sterilizer chambers from which all air has been removed. The efficacy of ethylene oxide treatment depends on achieving a suitable concentration in each article and this is assisted greatly by the good penetrating powers of the gas, which diffuses readily into many packaging materials including rubber, plastics, fabric and paper. This is not without its drawbacks, however, as the level of ethylene oxide in a sterilizer will decrease due to absorption during the process and the treated articles must undergo a desorption stage to remove toxic residues. Desorption can be allowed to occur naturally on open shelves, in which case complete desorption may take many days, e.g. for materials like PVC, or it may be encouraged by special forced-aeration cabinets where flowing, heated air assists gas removal, reducing desorption times to between 2 and 24 hours.

Organisms are more resistant to ethylene oxide treatment in a dried state, as are those protected from the gas by inclusion in crystalline or dried organic deposits. Thus, a further condition to be satisfied in ethylene oxide sterilization is attainment of a minimum level of moisture in the immediate product environment. This requires a sterilizer humidity of 30–70% and frequently a preconditioning of the load at relative humidities of more than 50%.

i)  Sterilizer design and operation: An ethylene oxide sterilizer consists of a leak-proof and explosion-proof steel chamber, normally of 100–300 L capacity, which can be surrounded by a hot-water jacket to provide a uniform chamber temperature. Successful operation of the sterilizer requires removal of air from the chamber by evacuation, humidification and conditioning of the load by passage of sub atmospheric-pressure steam followed by a further evacuation period and the admission of preheated vaporized ethylene oxide from external pressurized canisters or single-charge cartridges. Forced gas circulation is often employed to minimize variations in conditions throughout the sterilizer chamber. Packaging materials must be air, steam-and gas-permeable to permit suitable conditions for sterilization to be achieved within individual articles in the load. Absorption of ethylene oxide by the load is compensated for by the introduction of excess gas at the beginning or by the addition of more gas as the pressure drops during the sterilization process. The same may also be true for moisture absorption, which is compensated for by supplementary addition of water to maintain appropriate relative humidity. After treatment, the gases are evacuated either directly to the outside atmosphere or through a special exhaust system. Filtered, sterile air is then admitted either for a repeat of the vacuum/air cycle or for air purging until the chamber is opened. In this way, safe removal of the ethylene oxide is achieved, reducing the toxic hazard to the operator. Sterilized articles are removed directly from the chamber and arranged for desorption. The operation of an ethylene oxide sterilizer should be monitored and controlled automatically.

b) Formaldehyde: Formaldehyde gas for use in sterilization is produced by heating formalin (37% w/v aqueous solution of formaldehyde) to a temperature of 70–75 °C with steam, leading to the process known as LTSF. Formaldehyde has a similar toxicity to ethylene oxide and although absorption to materials appears to be lower, similar desorption routines are recommended. A major disadvantage of formaldehyde is low penetrating power, and this limits the packaging materials that can be employed to principally paper and cotton fabric.

i) Sterilizer design and operation: An LTSF sterilizer is designed to operate with sub-atmospheric-pressure steam. Air is removed by evacuation and steam is admitted to the chamber to allow heating of the load and to assist in air removal. The sterilization period starts with the release of formaldehyde by vaporization from formalin (in a vaporizer with a steam jacket) and continues through either a simple holding stage or through a series of pulsed evacuations and steam and formaldehyde admission cycles. The chamber temperature is maintained by a thermostatically controlled water jacket, and steam and condensate are removed via a drain channel and an evacuated condenser. At the end of the treatment period formaldehyde vapour is expelled by steam flushing and the load is dried by alternating stages of evacuation and admission of sterile, filtered air.

c) Peroxygen  Compounds: Hydrogen peroxide (H2O2), 30–35%w/v, and peracetic acid (CH3CO3H), 3.5%w/v, are used as highly effective oxidizing agents to kill microorganisms. The liquids are heated to vaporize them and are held in a sealed chamber where all surfaces which come into contact with the vapour will be sterilized. These methods are widely used for the sterilization of equipment used for aseptic preparation and manufacture such as isolators, with the vaporized hydrogen peroxide (VHP) often used for the routine decontamination of cleanrooms.

4. What is radiation sterilization.                                        Radiation is energy that comes from a source and travels through space and may be able to penetrate various materials. This method involves exposing the packed materials to radiation (UV, X-rays, gamma rays) for sterilization.

Two types of radiation are used, ionizing and non-ionizing;

NON-IONIZING RADIATION: Non-ionizing rays are low energy rays with poor penetrative power while ionizing rays are high energy rays with good penetrative power. Since radiation does not generate heat, it is termed "cold sterilization". Ultraviolet light irradiation (UV, from a germicidal lamp) is useful for sterilization of surfaces and some transparent objects. Many objects that are transparent to visible light absorb UV. UV irradiation is routinely used to sterilize the interiors of biological safety cabinets between uses, but is ineffective in shaded areas, including areas under dirt (which may become polymerized after prolonged irradiation, so that it is very difficult to remove).[52] It also damages some plastics, such as polystyrene foam if exposed for prolonged periods of time.

Ionizing radiation sterilization: Ionizing rays are of two types, particulate and electromagnetic rays. Electron beams are particulate in nature while gamma rays are electromagnetic in nature. High speed electrons are produced by a linear accelerator from a heated cathode. Electron beams are employed to sterilize articles like syringes, gloves, dressing packs, foods and pharmaceuticals. Sterilization is accomplished in few seconds. Unlike electromagnetic rays, the instruments can be switched off.