16/mhs06/069

Ugberase ehinomen nicholette

MLS304

Firstly an automated analyser is a medical laboratory instrument designed to measure different chemicals and other character in a sample quickly with minimal human assistance

Precaution

1. Read the instrument manual carefully before use
2. Insufficient washes may lead to undesired background
3. Agitate slowly to homogenize
4. Its recommended to measure the absorbance immediately after the reaction is completed