Name: Orlu Manuchim Emmanuella

Matric number: 17/mhs06/060

Assignment Answers

HOW I CAN MAINTAIN AUTOMATIC ANALYSERS IN ABUAD MULTI SYSTEM HOSPITAL AND KEEP THEM IN GOOD CONDITION.

An automatic analyser is an example of chemistry analyzer using a special flow technique named "CONTINUOS FLOW" analysis. It is designed based on seperating a continuosly flowing stream with air bubbles largely reduced show, clumsy and error prone manual methods of analysis. Automatic analysers can be maintained and kept in good condition by:

1. Thorough cleaning with proper materials and environment.

2. Regular caliberation of equipment.

3. Proper record keeping and testing of processing equipment.

4. Ensuring the automactic analyser is only used for clinical chemistry testing.

5. Performing routine maintenance by technicians

6. Using cloth materials to cover equipments to prevent dust from entering inside.

7. By carrying out weekly deep clean of the equipment.

8. Handling automatic analysers the right way.

9. Storing automatic analysers in appropriate places.

10. By ensuring corrective, preventive, risk-based and conditioned-based maintenance.