NAME: FASOIRO OYINDAMOLA ABOLANLE

17/MHS06/034

MLS

•Replace blown fuses and bulbs according to the manufacturer's instructions

•Consult a qualified bio medical engineer f the equipment is faulty

•The window and/or front surface of the photodetector should be inspected and cleaned with lens tissues

•Ensure that all accessories are clean and intact

•Verify the cables security devices ND terminals are free from dust, grime or corrosion

•Verify that cables are not showing signs of splicing or of being worn out.

•Make sure the circuit switch fuss box and indicators are free from dust, corrosion and grime .

•Check the adjustment and condition of nuts, bolts and screws.

•Inspect the instrument visually verify the integrity of it's components according to the manufacturer's specifications.

•Make sure the electrical connections does not have cracks or ruptures

Test if they are joined correctly.

Filter

Through a period of using time, the transmissivity of filter will reduce. It reduces until instrument cannot normal work, instrument will prompts automatically, at this moment in order to guarantee the accuracy of detecting, you should invite professional technician to replace the invalid filter.

Lamp-house light

When lamp-house light is defective (not light), instrument will prompt automatically, and at this moment you open the above cover to check-up. If confirming the light defective, you should replace it by the same type of light, and if power supply fault, you repair it.

Pumpline

Through a period of using time, because of extrusion, the pumpline may be distortion to influence of the aspiration volume. Before detecting, you should check-up whether pumpline is distortion, and if it is, please replace it.

Fuse

After fuse burnt out, you must cut off power supply firstly, and then replace fuse by the same type, or you do the above operation under professional technician guiding.

If the maintenance of the biochemistry analyzer is very good,then you will use the biochemistry analyzers for a long time.