## Slide 1: EEE 326 - ELECTRICAL MACHINES II
SINGLE PHASE INDUCTION MODULE

## Slide 2: WORKED EXAMPLE
A 23OV, 50Hz, 4 – pole , single phase induction motor has the following parameters and is running at a slip of 0.05
; ; ; ; ;
1. Draw the EXACT EQUIVALENT CIRCUIT of the Associated Single phase Induction Motor
2. Calculate the following:
(i) (ii) (iii) (iv) (v) , Motor circuit (vi) power factor
(vii) [ forward emf], (viii) [ back emf], (ix) (x)
(xi) Airgap power for the forward field, Watts

## Slide 3: SOLUTION
(xii) Airgap power for the backward field, Watts
(xiii) Mechanical power output for the forward field, . Watts
(xiv) Mechanical power output for the backward field, . Watts

## Slide 4: REQUIRED EQUIVALENT CIRCUIT
Forward field

## Slide 5: DETERMINATION OF PARAMETERS OF THE EQUIVALENT CIRCUIT
= = 75.44 Ω
= = 15.05 Ω
= = 78.10 Ω; where + = 2
= = 3.81 Ω
= = = 2.003 Ω

## Slide 6
(i) + j ]// // j
// j = = 14.48 + j2.872 = 14.76 Ω
+ j = 7.81 + j3.81
[14.48 + j2.872] // [7.81 + j3.81] = = 12.25 + j2.13
= 12.436 Ω
(iii) = + j = + j ] Ω

## Slide 7
(ii) + j ]// // j
= [2.003 + j3.81]// [14.48 + j2.876] Ω =
= [2.23 + j2.79] Ω
(iii) = + j = + j ] Ω
(iv) = + + = + j ] + [12.25 + j2.13] + [2.23 + j2.79]} Ω
= [19.22 + j10.28] Ω
(v) = = = 9.30 – j4.98 = 10.55A

## Slide 8: SOLUTION CONT’D
(VI) Power factor,
(vii). = [9.30 – j4.98][12.25 + j2.13] = 124.53 – j41.196 = 131V,
(viii). = [9.30 – j4.98][2.23 + j2.79] = 34.63 + j14.84 = 37.68V,
(ix) = 1.563 –j0.604 = 1.6774,
(x) = 6.79 –j5.52 = 35A,

## Slide 9: SOLUTION CONT’D
(xi) Airgap power for the forward field, = x [] = [x []
= 219.6 Watts
(xii) Airgap power for the forward field, = x [] = [x []
= 153.35 Watts
(xiii) Mechanical Power Output for the forward field,
208.62 Watts
(xiii) Mechanical Power Output for the backward field,
- 145 Watts